| ITEM NOS. | #### DESCRIPTION OF EQUIPMENT/SERVICES/WORKS | QTY | UNIT PRICE (RM) | TOTAL PRICE (RM) |
| --- | --- | --- | --- | --- |
| 1.0 1.1 1.2 1.3 2.0 2.1 3.0 3.1 | DESIGN WORKS A complete BQ detailing the scope of works, materials and pricing to reflect the DESIGN, PRELIMINARY, CONSTRUCTION, MAKE GOOD and OTHERS. (Note : Regulatory contribution fees if required, shall be borne by MIMOS) Structural design, testing, load calculation and preparation of engineering drawings for the structures, foundation, floor slabs, mechanical and electrical works. The drawings certified by the approved Professional Engineer (PE) shall be made available in the form of softcopy and 2 sets in the hardcopies. To prepare a set of BQ detailing the design works and finishes as specified by the clients PRELIMINARIES Protection of existing finishes to all areas affected and making good of defects to the damages existing structure, Clearing and cleaning to all areas before execution of the work and upon completion including transportation. Temporary Facilities & Services for works, Safe Access, Project Sign board and Hoarding Board. Investigate necessary existing data and information relevant to the project such as soil investigation, general layout, existing column and structures and everything necessary to undertake the job. Provision for the Bank Guarantee as Performance Bond, Public Liability Insurance and Workman Compensation insurance. CONSTRUCTION WORKS Supply of tools, materials, labours, equipment, machineries, professional supervision and everything else required for proper execution of the works and NOT limited to the following: - Earthwork and flooring: Able to withstand normal working load of min 5kN/m2, with approved type carpet and tile finishes. - Structural & wall: Mixture of brickwall and aluminium frame with glass panel. - Metal trusses & roofing: Universal beam and MS metal structure to blend the existing design with kiplock metal roof, c/w heat insulation. - Suspended ceiling: 2x4 ceiling board and required accessories. - Electrical works : Incoming supply from the nearest riser and split into separate power, air conditioning and lighting DBs. Power supply for the office cubicles and equipment. Lighting set using a 2 x 4 x 3Watt in a metal casing c/w reflector and diffuser. - Mechanical : ACPU with 1.5 times the design capacity c/w ductworks of return and supply ducts and all the necessary wiring and plumbing works. Sprinkler system : Main distribution pipe c/w upright and pendent sprinkler heads, approved by BOMBA. | L.Sum L.Sum L.Sum L.Sum L.Sum L.Sum L.Sum L.Sum L.Sum L.Sum |  |  |
|  | TOTAL COST FOR ITEM NOS (1.0 + 2.0 + 3.0) | - |  |  |